## Slide 1
EPA Primary Drinking Water Maximum Contaminant Levels (MCL)
Category / Contaminant | Maximum Contaminant Level (mg/L)
Lead (Pb) | 0.015 mg/L
Nitrates (NO3) | 10 mg/L
Arsenic (As) | 0.01 mg/L
Benzene | 0.005 mg/L
Source: EPA National Primary Drinking Water Regulations